# General Check List

# SCCS General Maintenance Check List 2026

*Program Leader : Boat Toilet [dump and rinse]- clean as often as makes sense - at least weekly if used, up to daily if excessive use

*Program Leader : Dishes, Tables, Floors & Trash - after program use

*Program Leader : Firewood Restock & Kindling Chop - as needed

Mice and other pests *please note if pest found *- 2x/month at least

Mice Traps - Checked: 2026: Jan, Feb, March, April, May,

Batteries [fill, clean terminals, check system for errors] - monthly

*Check notepad by distilled water in solar shed

# Project List

### SCCS Maintenance Project List 2026

- Composting toilet (Clivus) – what do we do?

- Memorial bench needs sanding and finishing

- Battery box lid re-shingle

- Generator needs more airflow and tuneup

- Wood shed walk way – replace metal with shingles and fix couple boards

- Leak in wood shed + trash concrete that got wet in wood shed

- Library chimney leak?

- School (longhouse) fireplace damper reinstall

- Sand down blue utensil drawer in school kitchen so kids can use

- Thistle removal around playground and swings

- Behind playground on hill trash clean up – garbage, broken balls and equipment

- Some school windows don’t have screens

- Hooks in classroom for rain jackets – maybe by fireplace but low for kids?

- School (longhouse) clean and set up drinking water jug, fill from filter in Kennedy building

- Food composter - does it need something? – clean up behind it

- Greenhouse and sheds clean up and set up for use

- Shed by greenhouse and battery shed clean up

- Shed by conex organize

- Conex organize and label for community use

- Mold check back room of school

- Full inspection of all structures

- Wet woodshaving (compost remains?) in garbage can by composter – what to do?

- Pizza oven and shed cleanup and fixup – leaking roof

# Volunteer Signup Sheet

# Sign Up Sheet for SCCS Maintenance Volunteers

Please put Your Name and preferred Contact Info

##### Grounds [cutting grass, tree trimming, pathways and fencing, drainage management, fire wood & kindling, gardening & greenhouse]

Water [filter, plumbing & toilet, check tanks & walk line *off-site*]

##### Building [mice and other pests, mold, structure, solar, electrical & lighting, emergency procedures, air systems, wood stove]

##### Miscellaneous [general maintenance, cleanup, organizing, tool care, etc.]